## Introduction
Author: | vAConsult (G. van Amerongen), vaconsult@vaconsult.net
Dated: | 04.09.2015
Version: | V3
Subject: | Documents and procedures for a solar water heater
Reference: | The workbook is to be used in combination with the document:
Ecodesign and Energy label for solar thermal related products, part 2.
Copyright (c) 2014, vAConsult, The Netherlands
Permission is hereby granted, free of charge, to any person obtaining a copy of this software and associated documentation files (the "Software"), to deal in the Software without restriction, including without limitation the rights to use, copy, modify, merge, publish, distribute, sublicense, and/or sell copies of the Software, and to permit persons to whom the Software is furnished to do so, subject to the following conditions:
The above copyright notice and this permission notice shall be included in all copies or substantial portions of the Software.
THE SOFTWARE IS PROVIDED "AS IS", WITHOUT WARRANTY OF ANY KIND, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO THE WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE AND NONINFRINGEMENT. IN NO EVENT SHALL THE AUTHORS OR COPYRIGHT HOLDERS BE LIABLE FOR ANY CLAIM, DAMAGES OR OTHER LIABILITY, WHETHER IN AN ACTION OF CONTRACT, TORT OR OTHERWISE, ARISING FROM, OUT OF OR IN CONNECTION WITH THE SOFTWARE OR THE USE OR OTHER DEALINGS IN THE SOFTWARE.
Overall procedure for a space heater package:
Complete the technical document for the hot water storage tank (TD-HWST)
Complete the product fiche for the hot water storage tank (PD-HWST), using the data in the technical document (TD-HWST)
Complete the technical document for the solar device for space and combination heater (TD-SH-SD)
Complete the product fiche for the solar device for space and combination heater (PD-SH-PA), using the data in the technical document (TD-SH-PA)
Complete the technical document for the space heater package (TD-SH-PA), using the data in the technical document of the hot water storage tank (TD-HWST) and the solar device for space and combination heater or their product fiches
Complete the product fiche for the space heater package (PD-SH-PA), using the data in the product fiche of the hot water storage tank (PD-HWST) and the solar device for space and combination heater
Complete the package energy label, based on the label class determined in the product fiche of the package (PD-SH-PA)
Notes:
If one or more components of the package are purchased from another supplier, preferably the documentation of those components should be copied to the corresponding worksheets in this workbook to preserve the automation of the worksheets.
If the technical documents of one or more components of the package are not available, you can use the product fiche to enter the data in the technical document. Enter in the reference to that technical document: ‘not available’.
The automation assumes that the product fiches are completed based on the data in the technical documents. If the underlying technical documents of a package are not available, the data from the corresponding product fiches should be entered in the package technical document.
Although the workbook is prepared with the at most care, errors cannot be ruled out. If so, please report those errors to vaconsult@vaconsult.net.
It goes without saying that vAConsult cannot be held liable for any damages arising from the use of this software
Revision history:
- 04.09.2015 V3 GvA (vAConsult)
Sheet 'PF-SWH', cell N32
Factor '100' removed
Thanks to Sylvain Roland, Enerplan

## TD-SHW
<- Format technical document ->
TD-SWH
| Technical documentation | [7 empty] | From technical document | …Do not change
Add these values
| Group: | Water heaters and hot water storage tanks | [6 empty] | Calculated value | …Do not change
| Section: | (Solar) water heater
| Reference: | CDR 812/2013, annex V, point 1 |  |  |  |  | Date: | 04.09.2015 V3
V.1.(b) | Description of the device:
| Brand: | vAConsult
| Type: | Solar Water
| Model: | Mark IX
Determined according to:
Ref.: | Description: |  | Symbol | Value | Unit | Status *) | Reference
V.1.(f) | From annex VII:
VII.7.(a) |  | Daily electricty consumption: | Qelec = | 0.1 | kWh | HS | PUB 2014/C 207/03 |  |  |  |  | CDR812/2013, annex VII, table 3
VII.7.(b) |  | Declared load profile: |  | L | - |  | CDR 812/2013 annex VII, table 7 |  |  |  | Load profile: | M | L | XL | XXL
VII.7.(c) |  | Sound power level: |  | 15 | dB | Reg | Defaut. No moving parts |  |  |  | Qref = | 5.845 | 11.655 | 19.07 | 24.53 | kWh
VII.7.(d) |  | Daily fuel consumption: | Qfuel = | 6 | kWh (GCV) | HS | PUB 2014/C 207/03
VII.7.(e) |  | Weekly fuel consumption: | Qfuel,week,smart | n.a. | kWh (GCV) | HS | PUB 2014/C 207/04
VII.7.(f) |  | Weekly electricity consumption: | Qelec,week,smart = | n.a. | kWh (GCV) | HS | PUB 2014/C 207/05
VII.7.(g) |  | Weekly fuel consumption: | Qfuel,week = | n.a. | kWh (GCV) | HS | PUB 2014/C 207/06
VII.7.(h) |  | Weekly electricity consumption: | Qelec,week = | n.a. | kWh (GCV) | HS | PUB 2014/C 207/07
|  | Water heater eff. (nonsolar): | ηwh,nonsol = | 0.9 | - | HS | PUB 2014/C 207/07
VII.7.(i) |  | Collector aperture area: | Asol = | 5 | m2 | HS | EN12975-2
VII.7.(j) |  | Zero loss collector efficiency: | ηo = | 0.8 | % | HS | EN12975-2
VII.7.(k) |  | First order heat loss coefficient: | a1 = | 3.5 | W/(K.m2) | HS | EN12975-2
VII.7.(l) |  | Second order heat loss coefficient: | a2 = | 0 | W/(K2.m2) | HS | EN12975-2
VII.7.(m) |  | Incidence angle modifier: | IAM = | 0.94 | - | HS | EN12975-2
|  | Storage nominal volume: | V = | 150 | litres
|  | Backup designated part of storage: | Vbu = | 0 | litres
VII.7.(n) |  | Pump power consumption: | solpump = | 30 | W | Reg | PUB 2014/C 207/03, point 4.10
VII.7.(o) |  | Standby power consumption: | solstandby = | 5 | W | ? | Product specifications
VIII.2.(e) |  | Annual auxiliary energy consumption: | Qaux = | 103.8 | kWh |  | Calculation
V.1.(g) | From annex VIII:
|  |  |  | Average | Colder | Warmer
VIII.2.(a) |  | Water heating energy efficiency: | ηwh = | 162.5962 | 148.7895 | 177.8282 | % | CDR 812/2013 annex VIII | point 3.(b) |  |  | Calculation according to CDR812/2013, annex VII, point 3b
VIII.2.(b) |  | Annual electricity consumption: | AEC = | 25.1857 | 27.5228 | 23.0284 | kWh | CDR 812/2013 annex VIII | point 4.(b) |  |  | Average | Colder | Warmer | -
VIII.2.(c) |  | Annual fuel consumption: | AFC = | 1511.1425 | 1651.3672 | 1381.7043 | kWh | CDR 812/2013 annex VIII | point 4.(b) |  | Qtota = | 1574.1067 | 1720.1742 | 1439.2753 | kWh
VIII.2.(g) |  | Annual non solar heat contribution: | Qnonsol = | 1170 | 1300 | 1050 | kWh | HS EN 12976
V.1.(h) | Precautions to be taken when assembling:
Supplier (name and address):
V.1.(a)
V.1.(e) | Empowered person: |  |  |  | Signature:
Name:
Position:
Compliments: Solar Certification Fund (4C16-EcoDes-12) |  |  |  | vAConsult 2014
1) HS= Harmonized standard. If not available, specify method according to PUB 2014/C 207/02 or /03 and specify subsection.

## PF-SWH
<- Format product fiche ->
PF-SWH
| Product fiche | [7 empty] | From technical document | …Do not change
Add these values
| Group: | Water heaters & storage tanks | [6 empty] | Calculated value | …Do not change
| Section: | Solar devices |  |  |  | Date: | 04.09.2015 V3
| Reference: | CDR 812/2013, annex IV, point 1
1.1 (a) | Supliers name or trademark: | [6 empty] | Informative section
1.1 (b) | Suppliers model identifier:
| Brand: | vAConsult
| Type: | Solar Water
| Model: | Mark IX
Technical parameters:
| Description: |  | Symbol: | Value: | Unit:
Load
1.1. (c) | Declared load profile: |  |  | L | - | Annex VII, table 3 |  | profiles:
1.1. (d) | Water heating efficiency class (average climate): |  |  | 0 | - | Annex II, point 1 |  | M
1.1. (e) | Water heating energy efficiency (average climate): |  | ηwh = | 162.5962 | % | Annex VIII, point 3 |  | L
1.1 (f) | Annual electricity consumption (average climate): |  | AEC = | 25.1857 | kWh | Annex VIII, point 4 |  | XL
1/1 (g) | not implemented | [6 empty] | XXL
1.1 (h) | Thermostat temperature setting: |  |  | n.a. | oC
1.1 (i) | Sound power level: |  | Lwa = | 15 | dB | Technical doc
1.1 (j) | Only off-peak hours operation: |  |  | n.a. | Yes/No
1.1 (k) | Special precautions:
Label class of package:
1.1 (l) | Only applicable with smart control enabled: |  |  | n.a. | Yes/No |  |  | Label |  |  | CDR 812/2013, annex II, table 1 |  |  |  | A++ | …Selection of the label class correspondig to the declared load profile
1.1 (m) | Water heating energy efficiency (colder climate): |  |  | 148.7895 | % | Annex VIII, point 3 |  | classes: |  |  | M | L | XL | XXL
| Water heating energy efficiency (warmer climate): |  |  | 177.8282 | % | Annex VIII, point 3 |  | A |  |  | A++ | A++ | A++ | A+ |  | …Calculation of label class for each load profile
| Annual electricity consumption (colder climate): |  |  | 27.5228 | kWh | Annex VIII, point 4 |  | B |  |  | 0 | 0 | 0 | 0 | G
| Annual electricity consumption (warmte climate): |  |  | 23.0284 | kWh | Annex VIII, point 4 |  | C |  |  | 27 | 27 | 27 | 28 | F
1.1 (o) | Collector aperture area: |  | Asol = | 5 | m2 | Technical doc |  | D |  |  | 30 | 30 | 30 | 32 | E
1.1 (p) | Zero loss collector efficiency: |  | ηo = | 0.8 | - | Technical doc |  | E |  |  | 33 | 34 | 35 | 36 | D
1.1 (q) | First order heat loss coefficient: |  | a1 = | 3.5 | W/(K.m2) | Technical doc |  | F |  |  | 36 | 37 | 38 | 40 | C
1.1 (r) | Second order heat loss coefficient: |  | a2 = | 0 | W/(K2.m2) | Technical doc |  | G |  |  | 39 | 50 | 55 | 60 | B
1.1 (s) | Incidence angle modifier: |  | IAM = | 0.94 | - | Technical doc |  |  |  |  | 65 | 75 | 80 | 85 | A
1.1 (t) | Storage nominal volume: |  | V = | 150 | litres | Technical doc |  |  |  |  | 100 | 115 | 123 | 131 | A+
| Backup designated part of storage: |  | Vbu = | 0 | litres | Technical doc |  |  |  |  | 130 | 150 | 160 | 170 | A++
1.1 (u) | Pump power consumption: |  | solpump = | 30 | W | Technical doc |  |  |  |  | 163 | 188 | 200 | 213 | A+++
1.1 (v) | Standby power consumption: |  | Solstandby = | 5 | W | Technical doc
| Compliments: Solar Certification Fund (4C16-EcoDes-12) |  |  | vAConsult 2014